## Disclaimer
Sub-transmission Feeder Limitations and Committed Solutions
(Ergon Energy Distribution Annual Planning Report 2020)
This workbook forms part of the Ergon Energy Distribution Annual Planning Report 2022 (DAPR) and should be read in conjunction with the report document.
Readers are encouraged to review the details and content as portrayed in the ‘Introduction & Notes’ section of this document in conjunction of with the associated data.
Disclaimer
Ergon Energy’s Distribution Annual Planning Report (DAPR) is prepared and made available solely for information purposes. While care was taken in the preparation of the information in the DAPR, and it is provided in good faith, Ergon Energy accepts no responsibility or liability (including without limitation, liability to any person by reason of negligence or negligent mis-statement) for any loss or damage that may be incurred by any person acting in reliance on this information or assumptions drawn from it, except to the extent that liability under any applicable Queensland or Commonwealth of Australia statute cannot be excluded.
It contains assumptions regarding, among other things, economic growth and load forecasts which may or may not prove to be correct. The forecasts included in the DAPR involve subjective judgements and analysis which are subject to significant uncertainties and contingencies, many of which are out of the control of Ergon Energy. Ergon Energy makes no representation or warranty as to the accuracy, reliability, completeness or suitability for any particular purpose of the information in this document. All information should be independently investigated, reviewed, analysed and verified, and must not be relied upon in connection with any investment proposal or decision. The information contained in the DAPR is subject to annual review. Ergon Energy is obligated to publish future editions by 31st December, in accordance with the National Electricity Rules.
All financials presented in the DAPR or within this document are correct at the time of writing and represent the existing organisational accounting treatment, which may be subject to change. Energy Queensland is finalising the alignment of its Cost Allocation Methodology between Ergon Energy and Energex, potentially impacting the treatment of some Capital and Operational Project costs.
Forecasted data is subject to ongoing variations.
All presented project costings and milestones (as of October 2022) are subject to change.

## Introduction & Notes
Sub-transmission Feeder Limitations and Committed Solutions
(Ergon Energy Distribution Annual Planning Report 2022)
This workbook provides a listing of projects for which Ergon Energy's network is committed to undertake.
Readers are encouraged to take into account the details and content portrayed in the ‘Introduction & Notes’ section of this workbook when reviewing the the associated data.
Forecasted data is subject to ongoing variation including regulatory reset in 2025.
All presented project costings and milestones (as of October 2022) are subject to change.
Contents
The tables contained in this spreadsheet include the following information for 50 PoE and 10 PoE in Summer and Winter:
- Substation name and associated limitation that is being addressed
- Impact of limitation on the capacity at transmission-distribution connection point
- Description of committed solution to address the limitation and associated Direct Cost excluding overheads and estimated commissioning date by month and year.
Exclusions
Substation projects that do not meet $1M+ direct cost requirement.

## Substation Committed Solutions
Ergon Energy Sub-transmission Feeder Limitations and Committed Solutions
Committed projects have reached design and construction phase, and applicable information is listed below.
NOTE: All financials presented in this document are correct at the time of writing (as of October 2022) and represent the existing organisational accounting treatment, which may be subject to change. Energy Queensland is still finalising the alignment of its Cost Allocation Methodology between Ergon and Energex, potentially impacting the treatment of some Capital and Operational Project costs.
Limitation | Impact of limitation on the capacity at trans-dist connection point | Committed solution to address the limitation
MALC - Malchi Zone Substation - Capacity Limitation and Network Security | Egans Hill(T127) - No Impact | Egans Hill-Gracemere 66kV Line Construction - Target Comissioning - Jan 23 - Cost: $9.5M ± 10%
CHIL-GAYN - Condition based limitation | Teebar Ck (H063) - No Impact | Replace Childers-Gayndah line M028 - Target Commissioning - Feb 24 -Cost: $82.1M ± 10%
Planella - Safety Net Limitation | Pioneer Valley (T141) - No Impact | Duplicate section of feeder to address capacity limitations - Target Commissioning - Oct-23 -Cost: $4.5M± 10%
BLAC-EMER - Condition based limitation | T032 Blackwater - No Impact | Pole Rebutt Blackwater-Emerald - Target Commissioning - Feb 24 - Cost: $1.58 ± 10%